## Sheet1
HHS Sustainable and Climate Resilient Health Care Facility Initiative
ELEMENT 2 CHECKLIST
LAND USE, BUILDING DESIGN AND REGULATORY CONTEXT
Yes = Action completed Somewhat = Action in progress or incomplete No = No action planned or taken Unknown = Status or action unknown N/A = Does not apply
GENERAL |  | Value | Rank
2.0.1 | Understand the physical parameters of each site or campus; facilities or campuses located in areas noted below are subjected to higher levels of hazard
| • Is the site located on low-lying barrier island and/or coastal regions? |  | Yes | Somewhat | No | Unknown | N/A
| • Is the site located on or near 100-year or 500-year floodplains or wetlands? |  | Yes | Somewhat | No | Unknown | N/A
| • Is the site located in close proximity to major levees or dams? |  | Yes | Somewhat | No | Unknown | N/A
| • Is the site located in close proximity to steep slopes subject to erosion? |  | Yes | Somewhat | No | Unknown | N/A
| • Is it located in close proximity to an area subject to fire risk? |  | Yes | Somewhat | No | Unknown | N/A
| • If you answered ‘yes’ or ‘somewhat’ to the questions above, have you developed comprehensive hazard mitigation plans (HMPs) for affected sites? |  | Yes | Somewhat | No | Unknown | N/A
| • Are you participating in local community and/or regional initiatives around mitigation and adaptation for these hazards? |  | Yes | Somewhat | No | Unknown | N/A
In recent years, U.S. health facilities have been impacted by extreme weather events and will continue to be impacted by climate-related hazards. Health care facilities can learn from each other by sharing lessons learned and best practices.
2.0.2 | Does your health care facility collect best practices and lessons learned regarding building envelop and healthcare campus resilience from other health care facilities that have experienced extreme weather disasters? |  | Yes | Somewhat | No | Unknown | N/A
2.0.3 | Are the individuals responsible for maintenance of your health care campuses and building envelopes adequately trained to manage an extreme weather related emergency or disaster (for examples of climate-related hazards, please refer to the hazards listed in Element 1)
| • Are front-line workers engaged in the development of plans and responses? |  | Yes | Somewhat | No | Unknown | N/A
| • Do site and building maintenance procedures include specifications on how weather may affect the safety and continued functioning of your facility? |  | Yes | Somewhat | No | Unknown | N/A
STEP 1: Understand Land Use, Siting and Landscape |  | Value | Rank
Perform Step 1 for each campus or site
2.1.1 | Inventory stormwater management infrastructure
| • Is the capacity of existing stormwater management system adequate for anticipated 50- or 100-year storm events today? |  | Yes | Somewhat | No | Unknown | N/A
| • Will the system be adequate in 2030/2050/2080?? |  | Yes | Somewhat | No | Unknown | N/A
2.1.2 | Inventory heat-island contributors
| • Have you installed reflective white roofs on buildings to reduce heat island impacts? |  | Yes | Somewhat | No | Unknown | N/A
| • Do you have high-albedo, light colored paving on parking areas and walkways? |  | Yes | Somewhat | No | Unknown | N/A
| • Have you installed green roofs to mitigate heat-island impacts? |  | Yes | Somewhat | No | Unknown | N/A
2.1.3 | Inventory plant material and landscape vulnerabilities
| • Are existing trees and plants resilient to climate change effects, both in general climate terms and pest/disease risks? |  | Yes | Somewhat | No | Unknown | N/A
| • Are they drought tolerant? |  | Yes | Somewhat | No | Unknown | N/A
| • In coastal areas, are they salt-tolerant to storm surge? |  | Yes | Somewhat | No | Unknown | N/A
2.1.4 | Based on answers to the above, rank the resilience of land use, siting and landscape. |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
STEP 2: Transportation and Site Access |  | Value | Rank
Perform Step 2 for each campus or site
2.2.1 | Assess transportation and site access resilience.
| • Do you have two unique access routes to critical healthcare facilities? |  | Yes | Somewhat | No | Unknown | N/A
| • Do you have contingency plans in place for loss of an access route or routes? |  | Yes | Somewhat | No | Unknown | N/A
| • Have you surveyed existing landscape elements to ensure that if damaged they will not block on-site access routes to the facility? |  | Yes | Somewhat | No | Unknown | N/A
2.2.2 | Inventory pavement design and materials
| • Are pavements designed to withstand extreme temperatures, freezing and thawing, or solar radiation? |  | Yes | Somewhat | No | Unknown | N/A
2.2.3 | Inventory transportation options for each site
| • Is the building or campus served by public transportation systems, such as light rail or subway? |  | Yes | Somewhat | No | Unknown | N/A
| • If so, have local public transportation systems undertaken climate resilience efforts? |  | Yes | Somewhat | No | Unknown | N/A
| • Is public transportation likely to remain operational during or immediately following an extreme weather event? |  | Yes | Somewhat | No | Unknown | N/A
| • Do you have a contingency plan for personnel transportation? |  | Yes | Somewhat | No | Unknown | N/A
| • If the building or campus is automobile and/or bus dependent, have you surveyed transportation vulnerabilities associated with weather extremes? |  | Yes | Somewhat | No | Unknown | N/A
| • Is there a helipad? |  | Yes | Somewhat | No | Unknown | N/A
| • Have you evaluated the location of the helipad against extreme weather risks? (For example, at grade flooding or rooftop vulnerability to damage from high winds.) |  | Yes | Somewhat | No | Unknown | N/A
2.2.4 | Inventory evacuation routes and their vulnerabilities
| • Have you developed contingency plans for evacuation during or following an extreme event? |  | Yes | Somewhat | No | Unknown | N/A
| • Are evacuation routes vulnerable to falling trees, utilities (fallen wires or poles)? Yes Somewhat No Unknown N/A |  | Yes | Somewhat | No | Unknown | N/A
| • Are evacuation routes above flood elevation? Yes Somewhat No Unknown N/A |  | Yes | Somewhat | No | Unknown | N/A
2.2.5 | Based on answers to the above, rank the resilience of transportation and site access. |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
STEP 3: Critical Building Inventory |  | Value | Rank
Perform Step 3 for each critical building on the campus or site
2.3.1 | Develop inventory of buildings vulnerable to each risk.
| • Have you mapped building locations relative to hazard maps? |  | Yes | Somewhat | No | Unknown | N/A
| • Have you compiled building envelope and performance vulnerabilities for each critical building? |  | Yes | Somewhat | No | Unknown | N/A
| • Have you reviewed building code design baselines against extreme weather intensities (wind speeds, rainfall volumes, etc.) for each critical building? |  | Yes | Somewhat | No | Unknown | N/A
| • Have you incorporated expected climate change data over time into building vulnerability assessments? |  | Yes | Somewhat | No | Unknown | N/A
2.3.2 | Assess potential injuries and property loss associated with hazards
| • Have you prepared a building asset inventory? |  | Yes | Somewhat | No | Unknown | N/A
| • Where vulnerabilities are identified, have you used HAZUS or FEMA 386 to calculate potential losses? |  | Yes | Somewhat | No | Unknown | N/A
2.3.3 | Develop a checklist for each building that summarizes major principles that should be considered when developing policies or capital projects
| • Have you reviewed local or regional resources on improving building resilience? |  | Yes | Somewhat | No | Unknown | N/A
| • Review USGBC’s “Green Building and Climate Resilience” for regional strategies. See Resources. |  | Yes | Somewhat | No | Unknown | N/A
| • For Hospitals, review FEMA-577 for flood and high wind. See Resources. |  | Yes | Somewhat | No | Unknown | N/A
| • For Residential Healthcare Facilities, review FEMA-577 and P-361 for Safe Rooms. See Resources. |  | Yes | Somewhat | No | Unknown | N/A
| • For ambulatory facilities, review FORTIFIED®. See Resources and Step 4. |  | Yes | Somewhat | No | Unknown | N/A
2.3.4 | In flood regions, understand if the buildings on your campus comply with the following specific regulations:
| • NFIP or FEMA Coastal Construction Manual and FEMA-577. See Resources. |  | Yes | Somewhat | No | Unknown | N/A
| • Additional flood requirements per local jurisdiction |  | Yes | Somewhat | No | Unknown | N/A
| • ASCE 24-05, Flood Resistant Design and Construction. See Resources. |  | Yes | Somewhat | No | Unknown | N/A
2.3.5 | Based on answers to the above, rank the state of critical building inventories |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
STEP 4: Building Construction and Vertical Transportation |  | Value | Rank
Perform Step 4 for each critical building on the campus or site
2.4.1 | Inventory Building Envelope design parameters for each critical building
| • What is the date of construction/occupancy? |  | Unknown
| • What are the deisgn wind loads for envelope? |  | Unknown
| • What are the design wind loads for windows? |  | Unknown
| • What are the design wind loads forroofs? |  | Unknown
| • What are the design snow loads for roofs? |  | Unknown
| • What are the design peak rainfall parameters for roof drainage systems? |  | Unknown
| • In high wind areas, are there places of refuge designed as part of the structure? |  | Unknown
| • Have building insulation and windows been updated to comply with contemporary energy codes? |  | Unknown
2.4.2 | Create places of refuge by hardening envelope and building shell
| • Have buildings taller than 60 feet or having long span roofs (more than 150’) been peer reviewed for structural design for increased extremes? |  | Yes | Somewhat | No | Unknown | N/A
| • Have rooftop structures and equipment (and their attachments) been reviewed for anticipated wind speeds? |  | Yes | Somewhat | No | Unknown | N/A
| • Have rooftop structures and equipment (and their attachments) been reviewed for extreme precipitation and/or hail vulnerabilities? |  | Yes | Somewhat | No | Unknown | N/A
| • Are skylights uplift resistant and impact resistant? |  | Yes | Somewhat | No | Unknown | N/A
| • Do exterior wall systems meet the requirements for wind and water resistance? |  | Yes | Somewhat | No | Unknown | N/A
| • In high wind areas, have you installed impact resistant glazing or opening protectives? |  | Yes | Somewhat | No | Unknown | N/A
2.4.3 | Review vertical transportation system vulnerabilities
| • Are machine rooms resistant to flooding or high wind/rooftop damage? |  | Yes | Somewhat | No | Unknown | N/A
| • Are vertical transportation systems dispersed to allow for partial use if some infrastructure is damaged or disabled? |  | Yes | Somewhat | No | Unknown | N/A
| • In flood zones, is a portion of the elevators constructed to remain operational during and following flood events? |  | Yes | Somewhat | No | Unknown | N/A
2.4.4 | Review interior construction for hazard vulnerabiliteis:
| • Is interior construction water resistante below 500-year flood elevations? |  | Yes | Somewhat | No | Unknown | N/A
| • Is stairwell construction fortified against high-wind events? |  | Yes | Somewhat | No | Unknown | N/A
| • Is there a designated high wind "Safe area"? |  | Yes | Somewhat | No | Unknown | N/A
2.4.5 | Based on answers to the above, rank the overall status of critical building construction and vertical transportation systems for each campus? |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
STEP 5: Passive Survivability Inventory |  | Value | Rank
Perform Step 5 for each critical building on the campus or site
Understand how buildings will perform if mechanical/electrical systems are disabled for an extended period of time. Assess overall passive survivability for the applicable conditions below:
2.5.1 | In extreme heat:
| • Are windows operable to provide for ventilation air and to maintain habitable conditions? |  | Yes | Somewhat | No | Unknown | N/A
| • Are there exterior shading devices, trees or other architectural features that mitigate solar gain? |  | Yes | Somewhat | No | Unknown | N/A
| • Have you assessed the length of time people can remain in place before overheating requires evacuation? |  | Yes | Somewhat | No | Unknown | N/A
2.5.2 | In extreme cold:
| • Do building orientation, glazing and/or shading devices provide for supplemental daytime solar gain? |  | Yes | Somewhat | No | Unknown | N/A
| • Is the building well-insulated, with high efficiency glazing systems? |  | Yes | Somewhat | No | Unknown | N/A
| • Does the building have significant thermal mass to reduce heat loss? |  | Yes | Somewhat | No | Unknown | N/A
| • Are there any sources of supplemental building heat? |  | Yes | Somewhat | No | Unknown | N/A
| • Have you assessed the length of time people can remain in place before extreme cold requires evacuation? |  | Yes | Somewhat | No | Unknown | N/A
SUMMARY |  | Value | Rank
Based on your responses above, develop a list of action items to address Land Use, Building Design and Regulatory Issues identified.
2.6.1 | Have you determined key resilience improvement strategies for each building and campus? |  | Yes | Somewhat | No | Unknown | N/A
2.6.2 | Have you mapped priority strategies for this Element across a timetable for implementation? Refer to the Getting Started section of the Climate Resilience Toolkit at toolkit.climate.gov. |  | Yes | Somewhat | No | Unknown | N/A
This checklist is one component of a five element framework and toolkit for improving healthcare facility climate resilience.
The full set of checklists, companion resources and case studies are available at toolkit.climate.gov.
This document is provided to the public for informational purposes and voluntary use. It does not represent official HHS policy.