## Table 1
HHS Sustainable and Climate Resilient Health Care Facility Initiative
ELEMENT 3 CHECKLIST
INFRASTRUCTURE PROTECTION AND RESILIENCE PLANNING
Yes = Action completed Somewhat = Action in progress or incomplete No = No action planned or taken Unknown = Status or action unknown N/A = Does not apply
GENERAL |  | Value | Rank
The ability of a health care facility to continue to provide care in a changing climate is in part dependent on the infrastructure and system elements that provide a safe and healthy hospital environment.
3.0.1 | Is information about the vulnerability of your facility’s infrastructure and systems to current and future climate variability and changing weather patterns continually included in hospital facility risk assessments? |  | Yes | Somewhat | No | Unknown | N/A
3.0.2 | Does your health care facility collect best practices and lessons learned regarding infrastructure and related systems resilience from other health care facilities that have experienced extreme weather disasters? |  | Yes | Somewhat | No | Unknown | N/A
3.0.3 | Are the individuals responsible for maintenance of your health care facilities, systems and nfrastructure adequately trained to manage an extreme weather related emergency or disaster (for examples of climate-related hazards, please refer to the hazards listed in Element 1)
| • Are front-line workers engaged in the development of plans and responses? |  | Yes | Somewhat | No | Unknown | N/A
| • Do maintenance procedures of your health care facilities’ systems and infrastructure include specifications on how weather may affect the safety and continued functioning of your facility? |  | Yes | Somewhat | No | Unknown | N/A
3.0.4 | Does your health care facility invest in infrastructural upgrades or redundancy measures to make your facility more resilient to extreme weather or longer-term gradual impacts from climate change? |  | Yes | Somewhat | No | Unknown | N/A
3.0.5 | Develop a checklist for each building system that summarizes major principles that should be considered when developing policies or capital projects. Refer to Element 2 Resources and Checklist.
| • For Hospitals, have you reviewed FEMA-477 for flood and high wind? |  | Yes | Somewhat | No | Unknown | N/A
| • For Residential Healthcare Facilities, have you reviewed FEMA-477 and P-361 for Safe Rooms? |  | Yes | Somewhat | No | Unknown | N/A
| • For ambulatory facilities, have you reviewed FORTIFIED®? |  | Yes | Somewhat | No | Unknown | N/A
3.0.6 | Have you completed a time to failure (96 hour or greater) assessment of all major building infrastructure systems? |  | Yes | Somewhat | No | Unknown | N/A
STEP 1: Value Rank | Energy and Utility Infrastructure: Power and Thermal Energy | Value | Rank
Perform Step 1 for each campus or site
3.1.1 | Climate change may result in more power outages in your community, which may result in increased frequency and/or duration of power disruptions at your health care facility. Review energy and utility infrastructure vulnerabilities and parameters of operating without essential utilities (island operation) that may be required in extreme weather events.
| • What is the current anticipated length of time you can operate without grid power or refueling? (96 hours is the minimum requirement, but some campuses may have circumstances that require a longer period of time.) |  |  |  | N/A
| • Is this adequate to meet the projections for extreme weather event durations? |  | Yes | Somewhat | No | Unknown | N/A
| • Do you produce electricity on-site through CHP or renewable systems? |  | Yes | Somewhat | No | Unknown | N/A
| • Do you have any other source beyond the municipal grid for normal power provisions? |  | Yes | Somewhat | No | Unknown | N/A
| • Given the location of the campus and weather risks, is your refueling supply chain resilient to extreme weather disruptions? |  | Yes | Somewhat | No | Unknown | N/A
| • Are all critical facilities equally equipped to operate without grid power for extended outages? |  | Yes | Somewhat | No | Unknown | N/A
| • If not, are there plans in place to address identified shortfalls and vulnerabilities? |  | Yes | Somewhat | No | Unknown | N/A
3.1.2 | Review locations of energy and utility infrastructure relative to extreme weather hazards.
| • Are all utility connections above 500-year flood elevation? |  | Yes | Somewhat | No | Unknown | N/A
| • Is the infrastructure located in buildings that can withstand damage from wind or hail? |  | Yes | Somewhat | No | Unknown | N/A
| • Is all major energy and utility infrastructure located above 500-year flood elevations? |  | Yes | Somewhat | No | Unknown | N/A
| • If not, are major energy and utility infrastructure elements located below flood elevations protected by flood-proof enclosures? |  | Yes | Somewhat | No | Unknown | N/A
| • Is roof mounted energy and utility infrastructure secured for high wind and protected from impact damage? |  | Yes | Somewhat | No | Unknown | N/A
| • Are emergency generators located above design flood elevations? |  | Yes | Somewhat | No | Unknown | N/A
| • Are emergency generators safe from impact damage during high wind events? |  | Yes | Somewhat | No | Unknown | N/A
| • Based on your answers above, rank the resilience of your energy and utility infrastructure locations |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
3.1.3 | In a climate-related emergency involving a power outage at your health care facility, does your facility have back-up power sources available to supply electricity to critical areas?
| • What percentage of your base electrical demand is covered by emergency generators? |  | N/A
| • Do you have redundancy (N+1) for all emergency generators? |  | Yes | Somewhat | No | Unknown | N/A
| • Does your emergency generator fuel capacity allow for the projected hours of operation indicated in Question 3.1.1? |  | Yes | Somewhat | No | Unknown | N/A
| • Does the emergency generator have a dedicated fuel source? |  | Yes | Somewhat | No | Unknown | N/A
| • Do you have external connections for portable emergency generators? |  | Yes | Somewhat | No | Unknown | N/A
| • Is food refrigeration equipment on emergency power? |  | Yes | Somewhat | No | Unknown | N/A
| • In a climate related emergency, assess the capability of your back up power sources to continue functioning. |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
3.1.4 | In extreme events, thermal (heating) energy systems may be taxed. Review the following items related to thermal systems. |  | Yes | Somewhat | No | Unknown | N/A
| • Have you reviewed the duration of island operation that may be required for the thermal plant in extreme weather events? Enter value here |  | N/A
| • How many hours of steam production are possible with fuel reserves? |  | Yes | Somewhat | No | Unknown | N/A
| • Are your thermal plant fuel source(s) subject to delivery disruptions? |  | Yes | Somewhat | No | Unknown | N/A
| • Is your heating system electric (ground source heat pumps or electric baseboard)? |  | Yes | Somewhat | No | Unknown | N/A
| • If the answer above is “yes”, is it on the emergency power system? |  | Yes | Somewhat | No | Unknown | N/A
| • Are boilers dual-fueled? |  | Yes | Somewhat | No | Unknown | N/A
| • Are fuel reserves adequate for the anticipated hours of operation without refueling? |  | Yes | Somewhat | No | Unknown | N/A
| • Are steam sterilizers fed by oil or natural gas? |  | Yes | Somewhat | No | Unknown | N/A
| • Are domestic hot water systems electric? |  | Yes | Somewhat | No | Unknown | N/A
| • If the answer above is “yes”, is domestic hot water on the emergency power system? |  | Yes | Somewhat | No | Unknown | N/A
| In a climate related emergency, assess the capability of your heating energy system to continue functioning. |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
3.1.5 | In extreme events, thermal (cooling) energy systems may be taxed. Review the following items related to thermal systems:
| • What is the the duration of “island operation” that may be required for the thermal plant in extreme weather events? |  | Yes | Somewhat | No | Unknown | N/A
| • What percentage of the cooling load is on emergency power? |  | Yes | Somewhat | No | Unknown | N/A
| • Is your cooling plant capable of operating when grid power is lost? |  | Yes | Somewhat | No | Unknown | N/A
| • Have you reviewed anticipated design temperatures for future plant upgrades? |  | Yes | Somewhat | No | Unknown | N/A
3.1.6 | In a climate related emergency, assess the capability of your cooling systems to continue functioning |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
STEP 2: Value Rank | Energy Conservation | Value | Rank
Perform Step 2 for each campus or site
3.2.1 | Energy efficiency initiatives contribute to resiliency by reducing future climate-related health risks (through greenhouse gas emission reductions) and reducing reliance on energy on a regular basis (to be better prepared when power supply is disrupted).
| • Does your health care facility have an energy conservation program? |  | Yes | Somewhat | No | Unknown | N/A
| • Have you audited and benchmarked energy use in your facility through EnergyStar or equivalent programs? |  | Yes | Somewhat | No | Unknown | N/A
| • Have you set energy or greenhouse gas reduction targets? |  | Yes | Somewhat | No | Unknown | N/A
| • Do you monitor or track energy use? |  | Yes | Somewhat | No | Unknown | N/A
| • Do you evaluate energy reduction strategies, monitor cost savings, greenhouse gas reductions? |  | Yes | Somewhat | No | Unknown | N/A
| • Do you educate staff, patients and visitors about energy reduction strategies (energy awareness campaigns)? |  | Yes | Somewhat | No | Unknown | N/A
3.2.2 | Have you engaged in any of the following energy conservation measures?
| • Central plant or mechanical equipment upgrades? |  | Yes | Somewhat | No | Unknown | N/A
| • Low-energy lighting, such as T-5 or LED? |  | Yes | Somewhat | No | Unknown | N/A
| • Install lighting control systems to minimize energy consumption? |  | Yes | Somewhat | No | Unknown | N/A
| • Install energy efficient equipment? |  | Yes | Somewhat | No | Unknown | N/A
3.2.3 | Has your facility or system investigated the possibility of diversifying energy sources and including renewable energy sources for your buildings or campuses ?
| • Solar (photovoltaic or thermal) |  | Yes | Somewhat | No | Unknown | N/A
| • Wind |  | Yes | Somewhat | No | Unknown | N/A
| • Methane (from landfill or industrial/agricultural sources) |  | Yes | Somewhat | No | Unknown | N/A
| • Biomass |  | Yes | Somewhat | No | Unknown | N/A
3.2.4 | Extreme weather could have cost implications for your health care facility, (if air conditioning units will need to run at higher intensities and for longer periods of time.) Do you consider how future climate variability, increasing utility or energy costs could affect costs to run equipment when developing future plans, strategies and programs (e.g. when investments are made)? |  | Yes | Somewhat | No | Unknown | N/A
3.2.5 | Based on your responses to Step 2 above, assess your energy conservation program. |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
STEP 3: Value Rank | Water Supply | Value | Rank
Perform Step 3 for each campus or site
3.3.1 | Climate change may cause more water restrictions or contamination. Does your health care facility have sufficient plans for water resources in the event of a water related emergency?
| • Are there two independent water sources to the facility? |  | Yes | Somewhat | No | Unknown | N/A
| • Is there a functioning well on your site? |  | Yes | Somewhat | No | Unknown | N/A
| • If yes, is it adequate to supply the facility? |  | Yes | Somewhat | No | Unknown | N/A
| • Is the water source potable without treatment? |  | Yes | Somewhat | No | Unknown | N/A
| • If treatment is required, is there a sufficient supply? |  | Yes | Somewhat | No | Unknown | N/A
| • Is there a surface water source; ie, pond, lake, etc that can provide process water needs in an emergency? |  | Yes | Somewhat | No | Unknown | N/A
3.3.2 | Climate change may cause more water restrictions in your communiyt. Does your health care facility have protocols to secure back-up supplies of water in the event of a water related emergency?
| • How much on-site emergency water storage do you have (gallons?) |  | N/A
| • What duration of operation can thi storage provide (hours)? |  | N/A
| • Do you rely on botteld drinking water for emergencies? |  | Yes | Somewhat | No | Unknown | N/A
| • If so, ho much do you stroe and for what duration? |  | N/A
3.3.3 | Based on your response above, rank your overall water supply resilience. |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
STEP 4: Value Rank | Water Usage | Value | Rank
Perform Step 4 for each campus or site
3.4.1 | Water distribution systems may be impacted by climate related events. Assess water distibution system vulnerabilities.
| • Is all utility water piping below frost lines? |  | Yes | Somewhat | No | Unknown | N/A
| • Is all internal water piping protected by insulation and routed through heated spaces? |  | Yes | Somewhat | No | Unknown | N/A
3.4.2 | Water usage tracking and benchmarking can help you understand needs and vulnerabilities. Rank your awareness of water usage and cost. |  | Yes | Somewhat | No | Unknown | N/A
| • Have you audited and benchmarked your water usage (gal/day)? |  | Yes | Somewhat | No | Unknown | N/A
| • Do you track or monitor water use for performance measures? |  | Yes | Somewhat | No | Unknown | N/A
| • Do you monitor cost savings of water use reduction strategies? |  | Yes | Somewhat | No | Unknown | N/A
| • Do you have a campaign to increase awareness about water conservation/use in the facility among staff, visitors and patients? |  | Yes | Somewhat | No | Unknown | N/A
3.4.3 | A water conservation program could include a variety of initiatives. Has your health care facility adopted any of the following water conservation related strategies? |  | Yes | Somewhat | No | Unknown | N/A
| • Low flow showers and faucets? |  | Yes | Somewhat | No | Unknown | N/A
| • Low flow toilets? |  | Yes | Somewhat | No | Unknown | N/A
| • Water efficient landscaping practices (drip or no irrigation systems)? |  | Yes | Somewhat | No | Unknown | N/A
| • Water efficient laundry equipment? |  | Yes | Somewhat | No | Unknown | N/A
| • Food service equipment? |  | Yes | Somewhat | No | Unknown | N/A
| • Sterilization equipment? |  | Yes | Somewhat | No | Unknown | N/A
3.4.4 | Based on your responses above, rank your water usage patterns and opportunities for improvement |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
STEP 5: Value Rank | Sewage and Wastewater | Value | Rank
Perform Step 5 for each campus or site
3.5.1 | Sewage and Wastewater systems may be impacted by climate related events. Inventory backflow prevention systems for all critical buildings or campuses.
| • Do buildings have check valves or equivalent backflow prevention devices installed on the main sewer discharge line to prevent sewage from flowing back into the building during a major flood event? |  | Yes | Somewhat | No | Unknown | N/A
| • Are all floor drains below flood elevation outfitted with drain plugs? |  | Yes | Somewhat | No | Unknown | N/A
| • Do you have any provisions for storing sewage in the event municipal systems are disabled or lost? |  | Yes | Somewhat | No | Unknown | N/A
3.5.2 | Based on your responses above, rank your sewage and wastewater infrastructure resilience |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
STEP 6: Value Rank | Communications Infrastructure | Value | Rank
Perform Step 6 for each campus or site.
3.6.1 | Climate related events can disrupt power and communicaiton systems. Does your facility or campus have multiple communication systems in the event of extreme weather emergencies? |  | Yes | Somewhat | No | Unknown | N/A
| • Landline telephone systems |  | Yes | Somewhat | No | Unknown | N/A
| • Mobile phone systems |  | Yes | Somewhat | No | Unknown | N/A
| • Radio Systems |  | Yes | Somewhat | No | Unknown | N/A
| • Other (please specify) |  | Yes | Somewhat | No | Unknown | N/A
3.6.2 | Is your healthcare facility part of a regional network of healthcare facilities with coordinated communication systems and protocols? |  | Yes | Somewhat | No | Unknown | N/A
3.6.3 | Does your facility or healthcare system have a system to provide “essential personnel” credentials to all required staff during or following extreme weather events, when traffic may be restricted and gasoline rationed? |  | Yes | Somewhat | No | Unknown | N/A
3.6.4 | Rank your communication and information system resilience based on the answers to the questions above |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
STEP 7: Value Rank | Medical Information Infrastructure | Value | Rank
Perform Step 7 for the campus or site.
3.7.1 | Healthcare facilities require Medical Information Systems (MIS) to remain available in order to continue to deliver patient care. Does your facility or system have the following systems in place? |  | Yes | Somewhat | No | Unknown | N/A
| • Electronic Medical Records |  | Yes | Somewhat | No | Unknown | N/A
| • Paper record storage in appropriate location (above flood level or in safe rooms) |  | Yes | Somewhat | No | Unknown | N/A
| • Off-site data center(s) |  | Yes | Somewhat | No | Unknown | N/A
3.7.2 | Does your facility or campus have medical information systems that will operate in the event of extreme weather emergencies? |  | Yes | Somewhat | No | Unknown | N/A
| • Are Medical Information Systems on emergency power? |  | Yes | Somewhat | No | Unknown | N/A
| • Is there an off-site data center or backup to on-site Medical Information Systems? |  | Yes | Somewhat | No | Unknown | N/A
| • Is there a backup telecommunications system if the telephone infrastructure fails? |  | Yes | Somewhat | No | Unknown | N/A
| • Is there a municipal or regional backup telecommunications system? |  | Yes | Somewhat | No | Unknown | N/A
3.7.3 | Inventory record storage systems and locations and assess their safety. |  | Yes | Somewhat | No | Unknown | N/A
| • Are medical records safe from flooding? |  | Yes | Somewhat | No | Unknown | N/A
| • Are building infrastructure record documents safe from flooding? |  | Yes | Somewhat | No | Unknown | N/A
| • Are all building infrastructure records digitized? |  | Yes | Somewhat | No | Unknown | N/A
3.7.4 | Rank your Medical Information System resilience based on the answers to the questions above |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
SUMMARY Value Rank |  | Value | Rank
Based on your responses above, develop a list of action items to address Infrastructure Protection and Resilience Planning issues identified.
3.8.1 | Have you determined key infrastructure resilience improvement strategies for each building and campus from this checklist? |  | Yes | Somewhat | No | Unknown | N/A
3.8.2 | Have you mapped priority strategies for this Element across a timetable for implementation? Refer to the Getting Started section of the Climate Resilience Tooklit toolkit.climate.gov. |  | Yes | Somewhat | No | Unknown | N/A
This checklist is one component of a five element framework and toolkit for improving healthcare facility climate resilience.
The full set of checklists, companion resources and case studies are available at toolkit.climate.gov.
This document is provided to the public for informational purposes and voluntary use. It does not represent official HHS policy.