## Element 1
HHS Sustainable and Climate Resilient Health Care Facility Initiative
Element 1 Checklist
Climate Risks and Community Vulnerabilities Assessment
Yes = Action completed Somewhat = Action in progress or incomplete No = No action planned or taken Unknown = Status or action unknown N/A = Does not apply
GENERAL |  | Value | Rank
1.0.1 | Does your health care facility receive notifications of weather warnings, alerts, and advisories for the following hazard conditions?:
| • Extreme heat |  | Yes | Somewhat | No | Unknown | N/A
| • Extreme cold |  | Yes | Somewhat | No | Unknown | N/A
| • Extreme weather - freezing rain, blizzard, ice storm, hail, snow |  | Yes | Somewhat | No | Unknown | N/A
| • Drought |  | Yes | Somewhat | No | Unknown | N/A
| • Wildfire |  | Yes | Somewhat | No | Unknown | N/A
| • Tornado |  | Yes | Somewhat | No | Unknown | N/A
| • Flash Floods and/or Coastal Floods |  | Yes | Somewhat | No | Unknown | N/A
| • Hurricanes or Severe storms |  | Yes | Somewhat | No | Unknown | N/A
| • Avalanche or landslides |  | Yes | Somewhat | No | Unknown | N/A
| • Poor air quality and smog |  | Yes | Somewhat | No | Unknown | N/A
| • Water-borne contamination and/or diseases |  | Yes | Somewhat | No | Unknown | N/A
| • Vector-borne diseases |  | Yes | Somewhat | No | Unknown | N/A
Step 1: Understand Climate Risks |  | Value | Rank
“Climate vulnerability assessment” is the analysis of the expected impacts, risks and adaptive capacity of a region or sector to the extreme and gradual effects of climate change. A vulnerability assessment is more than simple measurement of the potential harm caused by extreme weather events resulting from climate change includes an assessment of the ability to adapt.
1.1.1 | Is local or regional government conducting climate risk and vulnerability assessments for the healthcare sector? |  | Yes | Somewhat | No | Unknown | N/A
| • If “yes”, are these assessments regularly updated with emerging data and climate science? |  | Yes | Somewhat | No | Unknown | N/A
1.1.2 | Does local government communicate to your organization and the community information on local extreme weather hazard trends, including likely hazard impacts? |  | Yes | Somewhat | No | Unknown | N/A
1.1.3 | Does your organization have partnerships with universities or other climate and health- focused organizations to inform your understanding of climate and health risks? |  | Yes | Somewhat | No | Unknown | N/A
1.1.4 | Does disaster risk assessment inform local development policies? (Are local and municipal government authorities acting on climate change information in formulating development policies?) |  | Yes | Somewhat | No | Unknown | N/A
1.1.5 | If the answers above are “no”, has your organization conducted an independent climate risk assessment? |  | Yes | Somewhat | No | Unknown | N/A
| • If the answer is ‘yes’, does your organization utilize the resultant information as a basis of planning? |  | Yes | Somewhat | No | Unknown | N/A
1.1.6 | Based on your response to the questions above, rank your level of climate risk understanding |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
Step 2: Assess Community Preparedness and Vulnerabilities |  | Value | Rank
A resilient health care facility is dependent in part on the climate resiliency of the broader community. Climate variability and climate change may create risks in your community that can affect your health care facility. The community may have limited capacity to cope and certain vulnerability factors (e.g. institutional, demographic, socio-economic) may increase future risks. Step 2 questions should be completed for each campus or unique facility location.
1.2.1 | Are local government organizations equipped with knowledge, experience and resources to manage disaster risk reduction and climate change adaptation at a community or neighborhood level? |  | Yes | Somewhat | No | Unknown | N/A
1.2.2 | Are there existing partnerships between the community, healthcare organization and local authorities to reduce climate vulnerability in the surrounding communities? |  | Yes | Somewhat | No | Unknown | N/A
1.2.3 | Does the local government support vulnerable local populations (particularly elderly, children) to actively participate in risk reduction decision making, policy making, planning and implementation? |  | Yes | Somewhat | No | Unknown | N/A
1.2.4 | Does your healthcare organization have an understanding of local community vulnerability to extreme temperatures, flooding and other extreme weather hazards? |  | Yes | Somewhat | No | Unknown | N/A
1.2.5 | Do staff from your health care facility regularly participate on community disaster planning committees (e.g. when emergency management or community vulnerability assessments are undertaken)? |  | Yes | Somewhat | No | Unknown | N/A
1.2.6 | When conducting risk assessments, does your health care facility receive and exchange information about risks in the community (e.g. vulnerability of infrastructure, critical resources, vulnerability of the population) from knowledgeable community partners? |  | Yes | Somewhat | No | Unknown | N/A
1.2.7 D | Does your healthcare organization participate in community educational programs to assist the local community in reducing climate risk and vulnerabilities? |  | Yes | Somewhat | No | Unknown | N/A
1.2.8 | Is your healthcare system engaged in community health programs to improve community health in the face of particular climate risks (for example, home care for asthma to reduce health vulnerabilities during heat waves) |  | Yes | Somewhat | No | Unknown | N/A
1.2.9 | Based on your response to the questions above, rank your level of community preparedness for climate change impacts |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
Step 3: Prepare a Climate Risk and Vulnerability Analysis |  | Value | Rank
Step 3 should be completed for each campus or unique facility location.
1.3.1 | Has your organization reviewed, evaluated and cataloged extreme weather risks for this healthcare delivery location? |  | Yes | Somewhat | No | Unknown | N/A
1.3.2 | When Identifying climate risks, is uncertainty around changing weather patterns, including future climate variability, considered? |  | Yes | Somewhat | No | Unknown | N/A
1.3.3 | Have you projected future climate impacts to 2050 or 2080? |  | Yes | Somewhat | No | Unknown | N/A
1.3.4 | Does your facility/organization consider how indirect climate risks (drought, food prices, water availability, fossil fuel price increases) may affect future vulnerabilities or risks? |  | Yes | Somewhat | No | Unknown | N/A
1.3.5 | Does your organization prepare and regularly update a Hazard Vulnerability Analysis? |  | Yes | Somewhat | No | Unknown | N/A
1.3.6 | Does Hazard Vulnerability Analysis include consideration of the impacts of extreme weather risks on your buildings and infrastructure? |  | Yes | Somewhat | No | Unknown | N/A
1.3.7 | Have you completed the following components of a Climate Risk Assessment for each faculty/campus? |  | Yes | Somewhat | No | Unknown | N/A
| • Do you maintain a database of extreme weather losses from past events on your campus(es), city or region? |  | Yes | Somewhat | No | Unknown | N/A
| • Have you mapped the intensity and probability of extreme weather events across all your campuses (today, 2050, 2080) |  | Yes | Somewhat | No | Unknown | N/A
| • Have you identified the vulnerabilities and hazard exposures your community may face? See Section 1.2 above. |  | Yes | Somewhat | No | Unknown | N/A
| • Have you determined the degree of vulnerability and exposure to the hazard your campus or buildings may face? See Elements 2 and 3 for guidance. |  | Yes | Somewhat | No | Unknown | N/A
| • Have you assessed the impact of community vulnerabilities on patient surge and non-traditional needs the community may expect a medical facility to provide? See Element 4 for guidance. |  | Yes | Somewhat | No | Unknown | N/A
| • Have you determined the potential to mitigate extreme weather impacts through enhanced ecosystem adaptations? See Element 5 for Guidance |  | Yes | Somewhat | No | Unknown | N/A
1.3.8 | Based on your response to the questions above, rank the state of climate risk and vulnerability analysis for the campus or facility |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
Step 4: Prepare a System-wide Climate Risk and Vulnerability Analysis |  | Value | Rank
1.4.1 | If your campus is part of a larger health system, does the system have a comprehensive hazard vulnerability planning process that considers strategic relocation of people and assets during and following extreme weather events.
| • Within each campus? |  | Yes | Somewhat | No | Unknown | N/A
| • Within the system? |  | Yes | Somewhat | No | Unknown | N/A
| • Within a larger regional delivery system? |  | Yes | Somewhat | No | Unknown | N/A
1.4.2 | National and regional assessments of climate-related hazards are conducted approximately every 5 years. How often are risk assessments at your health care facility carried out (or revisited and updated)?
| • Every year |  | Yes | Somewhat | No | Unknown | N/A
| • 2-5 years |  | Yes | Somewhat | No | Unknown | N/A
| • 6-10 years |  | Yes | Somewhat | No | Unknown | N/A
| • Never |  | Yes | Somewhat | No | Unknown | N/A
1.4.3 | Based upon the responses to questions above, rank the state of climate risk and vulnerability analysis for your system? |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
Summary |  | Value | Rank
Based on your responses above, develop a list of action items to address Clinical Care Service Delivery issues identified.
1.5.1 | Have you determined climate risks for each building and campus based on hazard vulnerability assessments and/or this checklist? |  | Yes | Somewhat | No | Unknown | N/A
1.5.2 | Have you determined climate vulnerabilities and risks for the system as a whole? |  | Yes | Somewhat | No | Unknown | N/A
1.5.3 | Have you mapped priority strategies for this Element across a timetable for implementation? Refer to the Getting Started section of the Climate Resilience Toolkit toolkit.climate.gov. |  | Yes | Somewhat | No | Unknown | N/A
This checklist is one component of a five element framework and toolkit for improving healthcare facility climate resilience.
The full set of checklists, companion resources and case studies are available at toolkit.climate.gov.
This document is provided to the public for informational purposes and voluntary use. It does not represent official HHS policy.

## Element 2
HHS Sustainable and Climate Resilient Health Care Facility Initiative
ELEMENT 2 CHECKLIST
LAND USE, BUILDING DESIGN AND REGULATORY CONTEXT
Yes = Action completed Somewhat = Action in progress or incomplete No = No action planned or taken Unknown = Status or action unknown N/A = Does not apply
GENERAL |  | Value | Rank
2.0.1 | Understand the physical parameters of each site or campus; facilities or campuses located in areas noted below are subjected to higher levels of hazard
| • Is the site located on low-lying barrier island and/or coastal regions? |  | Yes | Somewhat | No | Unknown | N/A
| • Is the site located on or near 100-year or 500-year floodplains or wetlands? |  | Yes | Somewhat | No | Unknown | N/A
| • Is the site located in close proximity to major levees or dams? |  | Yes | Somewhat | No | Unknown | N/A
| • Is the site located in close proximity to steep slopes subject to erosion? |  | Yes | Somewhat | No | Unknown | N/A
| • Is it located in close proximity to an area subject to fire risk? |  | Yes | Somewhat | No | Unknown | N/A
| • If you answered ‘yes’ or ‘somewhat’ to the questions above, have you developed comprehensive hazard mitigation plans (HMPs) for affected sites? |  | Yes | Somewhat | No | Unknown | N/A
| • Are you participating in local community and/or regional initiatives around mitigation and adaptation for these hazards? |  | Yes | Somewhat | No | Unknown | N/A
In recent years, U.S. health facilities have been impacted by extreme weather events and will continue to be impacted by climate-related hazards. Health care facilities can learn from each other by sharing lessons learned and best practices.
2.0.2 | Does your health care facility collect best practices and lessons learned regarding building envelop and healthcare campus resilience from other health care facilities that have experienced extreme weather disasters? |  | Yes | Somewhat | No | Unknown | N/A
2.0.3 | Are the individuals responsible for maintenance of your health care campuses and building envelopes adequately trained to manage an extreme weather related emergency or disaster (for examples of climate-related hazards, please refer to the hazards listed in Element 1)
| • Are front-line workers engaged in the development of plans and responses? |  | Yes | Somewhat | No | Unknown | N/A
| • Do site and building maintenance procedures include specifications on how weather may affect the safety and continued functioning of your facility? |  | Yes | Somewhat | No | Unknown | N/A
STEP 1: Understand Land Use, Siting and Landscape |  | Value | Rank
Perform Step 1 for each campus or site
2.1.1 | Inventory stormwater management infrastructure
| • Is the capacity of existing stormwater management system adequate for anticipated 50- or 100-year storm events today? |  | Yes | Somewhat | No | Unknown | N/A
| • Will the system be adequate in 2030/2050/2080?? |  | Yes | Somewhat | No | Unknown | N/A
2.1.2 | Inventory heat-island contributors
| • Have you installed reflective white roofs on buildings to reduce heat island impacts? |  | Yes | Somewhat | No | Unknown | N/A
| • Do you have high-albedo, light colored paving on parking areas and walkways? |  | Yes | Somewhat | No | Unknown | N/A
| • Have you installed green roofs to mitigate heat-island impacts? |  | Yes | Somewhat | No | Unknown | N/A
2.1.3 | Inventory plant material and landscape vulnerabilities
| • Are existing trees and plants resilient to climate change effects, both in general climate terms and pest/disease risks? |  | Yes | Somewhat | No | Unknown | N/A
| • Are they drought tolerant? |  | Yes | Somewhat | No | Unknown | N/A
| • In coastal areas, are they salt-tolerant to storm surge? |  | Yes | Somewhat | No | Unknown | N/A
2.1.4 | Based on answers to the above, rank the resilience of land use, siting and landscape. |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
STEP 2: Transportation and Site Access |  | Value | Rank
Perform Step 2 for each campus or site
2.2.1 | Assess transportation and site access resilience.
| • Do you have two unique access routes to critical healthcare facilities? |  | Yes | Somewhat | No | Unknown | N/A
| • Do you have contingency plans in place for loss of an access route or routes? |  | Yes | Somewhat | No | Unknown | N/A
| • Have you surveyed existing landscape elements to ensure that if damaged they will not block on-site access routes to the facility? |  | Yes | Somewhat | No | Unknown | N/A
2.2.2 | Inventory pavement design and materials
| • Are pavements designed to withstand extreme temperatures, freezing and thawing, or solar radiation? |  | Yes | Somewhat | No | Unknown | N/A
2.2.3 | Inventory transportation options for each site
| • Is the building or campus served by public transportation systems, such as light rail or subway? |  | Yes | Somewhat | No | Unknown | N/A
| • If so, have local public transportation systems undertaken climate resilience efforts? |  | Yes | Somewhat | No | Unknown | N/A
| • Is public transportation likely to remain operational during or immediately following an extreme weather event? |  | Yes | Somewhat | No | Unknown | N/A
| • Do you have a contingency plan for personnel transportation? |  | Yes | Somewhat | No | Unknown | N/A
| • If the building or campus is automobile and/or bus dependent, have you surveyed transportation vulnerabilities associated with weather extremes? |  | Yes | Somewhat | No | Unknown | N/A
| • Is there a helipad? |  | Yes | Somewhat | No | Unknown | N/A
| • Have you evaluated the location of the helipad against extreme weather risks? (For example, at grade flooding or rooftop vulnerability to damage from high winds.) |  | Yes | Somewhat | No | Unknown | N/A
2.2.4 | Inventory evacuation routes and their vulnerabilities
| • Have you developed contingency plans for evacuation during or following an extreme event? |  | Yes | Somewhat | No | Unknown | N/A
| • Are evacuation routes vulnerable to falling trees, utilities (fallen wires or poles)? Yes Somewhat No Unknown N/A |  | Yes | Somewhat | No | Unknown | N/A
| • Are evacuation routes above flood elevation? Yes Somewhat No Unknown N/A |  | Yes | Somewhat | No | Unknown | N/A
2.2.5 | Based on answers to the above, rank the resilience of transportation and site access. |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
STEP 3: Critical Building Inventory |  | Value | Rank
Perform Step 3 for each critical building on the campus or site
2.3.1 | Develop inventory of buildings vulnerable to each risk.
| • Have you mapped building locations relative to hazard maps? |  | Yes | Somewhat | No | Unknown | N/A
| • Have you compiled building envelope and performance vulnerabilities for each critical building? |  | Yes | Somewhat | No | Unknown | N/A
| • Have you reviewed building code design baselines against extreme weather intensities (wind speeds, rainfall volumes, etc.) for each critical building? |  | Yes | Somewhat | No | Unknown | N/A
| • Have you incorporated expected climate change data over time into building vulnerability assessments? |  | Yes | Somewhat | No | Unknown | N/A
2.3.2 | Assess potential injuries and property loss associated with hazards
| • Have you prepared a building asset inventory? |  | Yes | Somewhat | No | Unknown | N/A
| • Where vulnerabilities are identified, have you used HAZUS or FEMA 386 to calculate potential losses? |  | Yes | Somewhat | No | Unknown | N/A
2.3.3 | Develop a checklist for each building that summarizes major principles that should be considered when developing policies or capital projects
| • Have you reviewed local or regional resources on improving building resilience? |  | Yes | Somewhat | No | Unknown | N/A
| • Review USGBC’s “Green Building and Climate Resilience” for regional strategies. See Resources. |  | Yes | Somewhat | No | Unknown | N/A
| • For Hospitals, review FEMA-577 for flood and high wind. See Resources. |  | Yes | Somewhat | No | Unknown | N/A
| • For Residential Healthcare Facilities, review FEMA-577 and P-361 for Safe Rooms. See Resources. |  | Yes | Somewhat | No | Unknown | N/A
| • For ambulatory facilities, review FORTIFIED®. See Resources and Step 4. |  | Yes | Somewhat | No | Unknown | N/A
2.3.4 | In flood regions, understand if the buildings on your campus comply with the following specific regulations:
| • NFIP or FEMA Coastal Construction Manual and FEMA-577. See Resources. |  | Yes | Somewhat | No | Unknown | N/A
| • Additional flood requirements per local jurisdiction |  | Yes | Somewhat | No | Unknown | N/A
| • ASCE 24-05, Flood Resistant Design and Construction. See Resources. |  | Yes | Somewhat | No | Unknown | N/A
2.3.5 | Based on answers to the above, rank the state of critical building inventories |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
STEP 4: Building Construction and Vertical Transportation |  | Value | Rank
Perform Step 4 for each critical building on the campus or site
2.4.1 | Inventory Building Envelope design parameters for each critical building
| • What is the date of construction/occupancy? |  | Unknown
| • What are the deisgn wind loads for envelope? |  | Unknown
| • What are the design wind loads for windows? |  | Unknown
| • What are the design wind loads forroofs? |  | Unknown
| • What are the design snow loads for roofs? |  | Unknown
| • What are the design peak rainfall parameters for roof drainage systems? |  | Unknown
| • In high wind areas, are there places of refuge designed as part of the structure? |  | Unknown
| • Have building insulation and windows been updated to comply with contemporary energy codes? |  | Unknown
2.4.2 | Create places of refuge by hardening envelope and building shell
| • Have buildings taller than 60 feet or having long span roofs (more than 150’) been peer reviewed for structural design for increased extremes? |  | Yes | Somewhat | No | Unknown | N/A
| • Have rooftop structures and equipment (and their attachments) been reviewed for anticipated wind speeds? |  | Yes | Somewhat | No | Unknown | N/A
| • Have rooftop structures and equipment (and their attachments) been reviewed for extreme precipitation and/or hail vulnerabilities? |  | Yes | Somewhat | No | Unknown | N/A
| • Are skylights uplift resistant and impact resistant? |  | Yes | Somewhat | No | Unknown | N/A
| • Do exterior wall systems meet the requirements for wind and water resistance? |  | Yes | Somewhat | No | Unknown | N/A
| • In high wind areas, have you installed impact resistant glazing or opening protectives? |  | Yes | Somewhat | No | Unknown | N/A
2.4.3 | Review vertical transportation system vulnerabilities
| • Are machine rooms resistant to flooding or high wind/rooftop damage? |  | Yes | Somewhat | No | Unknown | N/A
| • Are vertical transportation systems dispersed to allow for partial use if some infrastructure is damaged or disabled? |  | Yes | Somewhat | No | Unknown | N/A
| • In flood zones, is a portion of the elevators constructed to remain operational during and following flood events? |  | Yes | Somewhat | No | Unknown | N/A
2.4.4 | Review interior construction for hazard vulnerabiliteis:
| • Is interior construction water resistante below 500-year flood elevations? |  | Yes | Somewhat | No | Unknown | N/A
| • Is stairwell construction fortified against high-wind events? |  | Yes | Somewhat | No | Unknown | N/A
| • Is there a designated high wind "Safe area"? |  | Yes | Somewhat | No | Unknown | N/A
2.4.5 | Based on answers to the above, rank the overall status of critical building construction and vertical transportation systems for each campus? |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
STEP 5: Passive Survivability Inventory |  | Value | Rank
Perform Step 5 for each critical building on the campus or site
Understand how buildings will perform if mechanical/electrical systems are disabled for an extended period of time. Assess overall passive survivability for the applicable conditions below:
2.5.1 | In extreme heat:
| • Are windows operable to provide for ventilation air and to maintain habitable conditions? |  | Yes | Somewhat | No | Unknown | N/A
| • Are there exterior shading devices, trees or other architectural features that mitigate solar gain? |  | Yes | Somewhat | No | Unknown | N/A
| • Have you assessed the length of time people can remain in place before overheating requires evacuation? |  | Yes | Somewhat | No | Unknown | N/A
2.5.2 | In extreme cold:
| • Do building orientation, glazing and/or shading devices provide for supplemental daytime solar gain? |  | Yes | Somewhat | No | Unknown | N/A
| • Is the building well-insulated, with high efficiency glazing systems? |  | Yes | Somewhat | No | Unknown | N/A
| • Does the building have significant thermal mass to reduce heat loss? |  | Yes | Somewhat | No | Unknown | N/A
| • Are there any sources of supplemental building heat? |  | Yes | Somewhat | No | Unknown | N/A
| • Have you assessed the length of time people can remain in place before extreme cold requires evacuation? |  | Yes | Somewhat | No | Unknown | N/A
SUMMARY |  | Value | Rank
Based on your responses above, develop a list of action items to address Land Use, Building Design and Regulatory Issues identified.
2.6.1 | Have you determined key resilience improvement strategies for each building and campus? |  | Yes | Somewhat | No | Unknown | N/A
2.6.2 | Have you mapped priority strategies for this Element across a timetable for implementation? Refer to the Getting Started section of the Climate Resilience Toolkit at toolkit.climate.gov. |  | Yes | Somewhat | No | Unknown | N/A
This checklist is one component of a five element framework and toolkit for improving healthcare facility climate resilience.
The full set of checklists, companion resources and case studies are available at toolkit.climate.gov.
This document is provided to the public for informational purposes and voluntary use. It does not represent official HHS policy.

## Element 3
HHS Sustainable and Climate Resilient Health Care Facility Initiative
ELEMENT 3 CHECKLIST
INFRASTRUCTURE PROTECTION AND RESILIENCE PLANNING
Yes = Action completed Somewhat = Action in progress or incomplete No = No action planned or taken Unknown = Status or action unknown N/A = Does not apply
GENERAL |  | Value | Rank
The ability of a health care facility to continue to provide care in a changing climate is in part dependent on the infrastructure and system elements that provide a safe and healthy hospital environment.
3.0.1 | Is information about the vulnerability of your facility’s infrastructure and systems to current and future climate variability and changing weather patterns continually included in hospital facility risk assessments? |  | Yes | Somewhat | No | Unknown | N/A
3.0.2 | Does your health care facility collect best practices and lessons learned regarding infrastructure and related systems resilience from other health care facilities that have experienced extreme weather disasters? |  | Yes | Somewhat | No | Unknown | N/A
3.0.3 | Are the individuals responsible for maintenance of your health care facilities, systems and nfrastructure adequately trained to manage an extreme weather related emergency or disaster (for examples of climate-related hazards, please refer to the hazards listed in Element 1)
| • Are front-line workers engaged in the development of plans and responses? |  | Yes | Somewhat | No | Unknown | N/A
| • Do maintenance procedures of your health care facilities’ systems and infrastructure include specifications on how weather may affect the safety and continued functioning of your facility? |  | Yes | Somewhat | No | Unknown | N/A
3.0.4 | Does your health care facility invest in infrastructural upgrades or redundancy measures to make your facility more resilient to extreme weather or longer-term gradual impacts from climate change? |  | Yes | Somewhat | No | Unknown | N/A
3.0.5 | Develop a checklist for each building system that summarizes major principles that should be considered when developing policies or capital projects. Refer to Element 2 Resources and Checklist.
| • For Hospitals, have you reviewed FEMA-477 for flood and high wind? |  | Yes | Somewhat | No | Unknown | N/A
| • For Residential Healthcare Facilities, have you reviewed FEMA-477 and P-361 for Safe Rooms? |  | Yes | Somewhat | No | Unknown | N/A
| • For ambulatory facilities, have you reviewed FORTIFIED®? |  | Yes | Somewhat | No | Unknown | N/A
3.0.6 | Have you completed a time to failure (96 hour or greater) assessment of all major building infrastructure systems? |  | Yes | Somewhat | No | Unknown | N/A
STEP 1: Value Rank | Energy and Utility Infrastructure: Power and Thermal Energy | Value | Rank
Perform Step 1 for each campus or site
3.1.1 | Climate change may result in more power outages in your community, which may result in increased frequency and/or duration of power disruptions at your health care facility. Review energy and utility infrastructure vulnerabilities and parameters of operating without essential utilities (island operation) that may be required in extreme weather events.
| • What is the current anticipated length of time you can operate without grid power or refueling? (96 hours is the minimum requirement, but some campuses may have circumstances that require a longer period of time.) |  |  |  | N/A
| • Is this adequate to meet the projections for extreme weather event durations? |  | Yes | Somewhat | No | Unknown | N/A
| • Do you produce electricity on-site through CHP or renewable systems? |  | Yes | Somewhat | No | Unknown | N/A
| • Do you have any other source beyond the municipal grid for normal power provisions? |  | Yes | Somewhat | No | Unknown | N/A
| • Given the location of the campus and weather risks, is your refueling supply chain resilient to extreme weather disruptions? |  | Yes | Somewhat | No | Unknown | N/A
| • Are all critical facilities equally equipped to operate without grid power for extended outages? |  | Yes | Somewhat | No | Unknown | N/A
| • If not, are there plans in place to address identified shortfalls and vulnerabilities? |  | Yes | Somewhat | No | Unknown | N/A
3.1.2 | Review locations of energy and utility infrastructure relative to extreme weather hazards.
| • Are all utility connections above 500-year flood elevation? |  | Yes | Somewhat | No | Unknown | N/A
| • Is the infrastructure located in buildings that can withstand damage from wind or hail? |  | Yes | Somewhat | No | Unknown | N/A
| • Is all major energy and utility infrastructure located above 500-year flood elevations? |  | Yes | Somewhat | No | Unknown | N/A
| • If not, are major energy and utility infrastructure elements located below flood elevations protected by flood-proof enclosures? |  | Yes | Somewhat | No | Unknown | N/A
| • Is roof mounted energy and utility infrastructure secured for high wind and protected from impact damage? |  | Yes | Somewhat | No | Unknown | N/A
| • Are emergency generators located above design flood elevations? |  | Yes | Somewhat | No | Unknown | N/A
| • Are emergency generators safe from impact damage during high wind events? |  | Yes | Somewhat | No | Unknown | N/A
| • Based on your answers above, rank the resilience of your energy and utility infrastructure locations |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
3.1.3 | In a climate-related emergency involving a power outage at your health care facility, does your facility have back-up power sources available to supply electricity to critical areas?
| • What percentage of your base electrical demand is covered by emergency generators? |  | N/A
| • Do you have redundancy (N+1) for all emergency generators? |  | Yes | Somewhat | No | Unknown | N/A
| • Does your emergency generator fuel capacity allow for the projected hours of operation indicated in Question 3.1.1? |  | Yes | Somewhat | No | Unknown | N/A
| • Does the emergency generator have a dedicated fuel source? |  | Yes | Somewhat | No | Unknown | N/A
| • Do you have external connections for portable emergency generators? |  | Yes | Somewhat | No | Unknown | N/A
| • Is food refrigeration equipment on emergency power? |  | Yes | Somewhat | No | Unknown | N/A
| • In a climate related emergency, assess the capability of your back up power sources to continue functioning. |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
3.1.4 | In extreme events, thermal (heating) energy systems may be taxed. Review the following items related to thermal systems. |  | Yes | Somewhat | No | Unknown | N/A
| • Have you reviewed the duration of island operation that may be required for the thermal plant in extreme weather events? Enter value here |  | N/A
| • How many hours of steam production are possible with fuel reserves? |  | Yes | Somewhat | No | Unknown | N/A
| • Are your thermal plant fuel source(s) subject to delivery disruptions? |  | Yes | Somewhat | No | Unknown | N/A
| • Is your heating system electric (ground source heat pumps or electric baseboard)? |  | Yes | Somewhat | No | Unknown | N/A
| • If the answer above is “yes”, is it on the emergency power system? |  | Yes | Somewhat | No | Unknown | N/A
| • Are boilers dual-fueled? |  | Yes | Somewhat | No | Unknown | N/A
| • Are fuel reserves adequate for the anticipated hours of operation without refueling? |  | Yes | Somewhat | No | Unknown | N/A
| • Are steam sterilizers fed by oil or natural gas? |  | Yes | Somewhat | No | Unknown | N/A
| • Are domestic hot water systems electric? |  | Yes | Somewhat | No | Unknown | N/A
| • If the answer above is “yes”, is domestic hot water on the emergency power system? |  | Yes | Somewhat | No | Unknown | N/A
| In a climate related emergency, assess the capability of your heating energy system to continue functioning. |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
3.1.5 | In extreme events, thermal (cooling) energy systems may be taxed. Review the following items related to thermal systems:
| • What is the the duration of “island operation” that may be required for the thermal plant in extreme weather events? |  | Yes | Somewhat | No | Unknown | N/A
| • What percentage of the cooling load is on emergency power? |  | Yes | Somewhat | No | Unknown | N/A
| • Is your cooling plant capable of operating when grid power is lost? |  | Yes | Somewhat | No | Unknown | N/A
| • Have you reviewed anticipated design temperatures for future plant upgrades? |  | Yes | Somewhat | No | Unknown | N/A
3.1.6 | In a climate related emergency, assess the capability of your cooling systems to continue functioning |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
STEP 2: Value Rank | Energy Conservation | Value | Rank
Perform Step 2 for each campus or site
3.2.1 | Energy efficiency initiatives contribute to resiliency by reducing future climate-related health risks (through greenhouse gas emission reductions) and reducing reliance on energy on a regular basis (to be better prepared when power supply is disrupted).
| • Does your health care facility have an energy conservation program? |  | Yes | Somewhat | No | Unknown | N/A
| • Have you audited and benchmarked energy use in your facility through EnergyStar or equivalent programs? |  | Yes | Somewhat | No | Unknown | N/A
| • Have you set energy or greenhouse gas reduction targets? |  | Yes | Somewhat | No | Unknown | N/A
| • Do you monitor or track energy use? |  | Yes | Somewhat | No | Unknown | N/A
| • Do you evaluate energy reduction strategies, monitor cost savings, greenhouse gas reductions? |  | Yes | Somewhat | No | Unknown | N/A
| • Do you educate staff, patients and visitors about energy reduction strategies (energy awareness campaigns)? |  | Yes | Somewhat | No | Unknown | N/A
3.2.2 | Have you engaged in any of the following energy conservation measures?
| • Central plant or mechanical equipment upgrades? |  | Yes | Somewhat | No | Unknown | N/A
| • Low-energy lighting, such as T-5 or LED? |  | Yes | Somewhat | No | Unknown | N/A
| • Install lighting control systems to minimize energy consumption? |  | Yes | Somewhat | No | Unknown | N/A
| • Install energy efficient equipment? |  | Yes | Somewhat | No | Unknown | N/A
3.2.3 | Has your facility or system investigated the possibility of diversifying energy sources and including renewable energy sources for your buildings or campuses ?
| • Solar (photovoltaic or thermal) |  | Yes | Somewhat | No | Unknown | N/A
| • Wind |  | Yes | Somewhat | No | Unknown | N/A
| • Methane (from landfill or industrial/agricultural sources) |  | Yes | Somewhat | No | Unknown | N/A
| • Biomass |  | Yes | Somewhat | No | Unknown | N/A
3.2.4 | Extreme weather could have cost implications for your health care facility, (if air conditioning units will need to run at higher intensities and for longer periods of time.) Do you consider how future climate variability, increasing utility or energy costs could affect costs to run equipment when developing future plans, strategies and programs (e.g. when investments are made)? |  | Yes | Somewhat | No | Unknown | N/A
3.2.5 | Based on your responses to Step 2 above, assess your energy conservation program. |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
STEP 3: Value Rank | Water Supply | Value | Rank
Perform Step 3 for each campus or site
3.3.1 | Climate change may cause more water restrictions or contamination. Does your health care facility have sufficient plans for water resources in the event of a water related emergency?
| • Are there two independent water sources to the facility? |  | Yes | Somewhat | No | Unknown | N/A
| • Is there a functioning well on your site? |  | Yes | Somewhat | No | Unknown | N/A
| • If yes, is it adequate to supply the facility? |  | Yes | Somewhat | No | Unknown | N/A
| • Is the water source potable without treatment? |  | Yes | Somewhat | No | Unknown | N/A
| • If treatment is required, is there a sufficient supply? |  | Yes | Somewhat | No | Unknown | N/A
| • Is there a surface water source; ie, pond, lake, etc that can provide process water needs in an emergency? |  | Yes | Somewhat | No | Unknown | N/A
3.3.2 | Climate change may cause more water restrictions in your communiyt. Does your health care facility have protocols to secure back-up supplies of water in the event of a water related emergency?
| • How much on-site emergency water storage do you have (gallons?) |  | N/A
| • What duration of operation can thi storage provide (hours)? |  | N/A
| • Do you rely on botteld drinking water for emergencies? |  | Yes | Somewhat | No | Unknown | N/A
| • If so, ho much do you stroe and for what duration? |  | N/A
3.3.3 | Based on your response above, rank your overall water supply resilience. |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
STEP 4: Value Rank | Water Usage | Value | Rank
Perform Step 4 for each campus or site
3.4.1 | Water distribution systems may be impacted by climate related events. Assess water distibution system vulnerabilities.
| • Is all utility water piping below frost lines? |  | Yes | Somewhat | No | Unknown | N/A
| • Is all internal water piping protected by insulation and routed through heated spaces? |  | Yes | Somewhat | No | Unknown | N/A
3.4.2 | Water usage tracking and benchmarking can help you understand needs and vulnerabilities. Rank your awareness of water usage and cost. |  | Yes | Somewhat | No | Unknown | N/A
| • Have you audited and benchmarked your water usage (gal/day)? |  | Yes | Somewhat | No | Unknown | N/A
| • Do you track or monitor water use for performance measures? |  | Yes | Somewhat | No | Unknown | N/A
| • Do you monitor cost savings of water use reduction strategies? |  | Yes | Somewhat | No | Unknown | N/A
| • Do you have a campaign to increase awareness about water conservation/use in the facility among staff, visitors and patients? |  | Yes | Somewhat | No | Unknown | N/A
3.4.3 | A water conservation program could include a variety of initiatives. Has your health care facility adopted any of the following water conservation related strategies? |  | Yes | Somewhat | No | Unknown | N/A
| • Low flow showers and faucets? |  | Yes | Somewhat | No | Unknown | N/A
| • Low flow toilets? |  | Yes | Somewhat | No | Unknown | N/A
| • Water efficient landscaping practices (drip or no irrigation systems)? |  | Yes | Somewhat | No | Unknown | N/A
| • Water efficient laundry equipment? |  | Yes | Somewhat | No | Unknown | N/A
| • Food service equipment? |  | Yes | Somewhat | No | Unknown | N/A
| • Sterilization equipment? |  | Yes | Somewhat | No | Unknown | N/A
3.4.4 | Based on your responses above, rank your water usage patterns and opportunities for improvement |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
STEP 5: Value Rank | Sewage and Wastewater | Value | Rank
Perform Step 5 for each campus or site
3.5.1 | Sewage and Wastewater systems may be impacted by climate related events. Inventory backflow prevention systems for all critical buildings or campuses.
| • Do buildings have check valves or equivalent backflow prevention devices installed on the main sewer discharge line to prevent sewage from flowing back into the building during a major flood event? |  | Yes | Somewhat | No | Unknown | N/A
| • Are all floor drains below flood elevation outfitted with drain plugs? |  | Yes | Somewhat | No | Unknown | N/A
| • Do you have any provisions for storing sewage in the event municipal systems are disabled or lost? |  | Yes | Somewhat | No | Unknown | N/A
3.5.2 | Based on your responses above, rank your sewage and wastewater infrastructure resilience |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
STEP 6: Value Rank | Communications Infrastructure | Value | Rank
Perform Step 6 for each campus or site.
3.6.1 | Climate related events can disrupt power and communicaiton systems. Does your facility or campus have multiple communication systems in the event of extreme weather emergencies? |  | Yes | Somewhat | No | Unknown | N/A
| • Landline telephone systems |  | Yes | Somewhat | No | Unknown | N/A
| • Mobile phone systems |  | Yes | Somewhat | No | Unknown | N/A
| • Radio Systems |  | Yes | Somewhat | No | Unknown | N/A
| • Other (please specify) |  | Yes | Somewhat | No | Unknown | N/A
3.6.2 | Is your healthcare facility part of a regional network of healthcare facilities with coordinated communication systems and protocols? |  | Yes | Somewhat | No | Unknown | N/A
3.6.3 | Does your facility or healthcare system have a system to provide “essential personnel” credentials to all required staff during or following extreme weather events, when traffic may be restricted and gasoline rationed? |  | Yes | Somewhat | No | Unknown | N/A
3.6.4 | Rank your communication and information system resilience based on the answers to the questions above |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
STEP 7: Value Rank | Medical Information Infrastructure | Value | Rank
Perform Step 7 for the campus or site.
3.7.1 | Healthcare facilities require Medical Information Systems (MIS) to remain available in order to continue to deliver patient care. Does your facility or system have the following systems in place? |  | Yes | Somewhat | No | Unknown | N/A
| • Electronic Medical Records |  | Yes | Somewhat | No | Unknown | N/A
| • Paper record storage in appropriate location (above flood level or in safe rooms) |  | Yes | Somewhat | No | Unknown | N/A
| • Off-site data center(s) |  | Yes | Somewhat | No | Unknown | N/A
3.7.2 | Does your facility or campus have medical information systems that will operate in the event of extreme weather emergencies? |  | Yes | Somewhat | No | Unknown | N/A
| • Are Medical Information Systems on emergency power? |  | Yes | Somewhat | No | Unknown | N/A
| • Is there an off-site data center or backup to on-site Medical Information Systems? |  | Yes | Somewhat | No | Unknown | N/A
| • Is there a backup telecommunications system if the telephone infrastructure fails? |  | Yes | Somewhat | No | Unknown | N/A
| • Is there a municipal or regional backup telecommunications system? |  | Yes | Somewhat | No | Unknown | N/A
3.7.3 | Inventory record storage systems and locations and assess their safety. |  | Yes | Somewhat | No | Unknown | N/A
| • Are medical records safe from flooding? |  | Yes | Somewhat | No | Unknown | N/A
| • Are building infrastructure record documents safe from flooding? |  | Yes | Somewhat | No | Unknown | N/A
| • Are all building infrastructure records digitized? |  | Yes | Somewhat | No | Unknown | N/A
3.7.4 | Rank your Medical Information System resilience based on the answers to the questions above |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
SUMMARY Value Rank |  | Value | Rank
Based on your responses above, develop a list of action items to address Infrastructure Protection and Resilience Planning issues identified.
3.8.1 | Have you determined key infrastructure resilience improvement strategies for each building and campus from this checklist? |  | Yes | Somewhat | No | Unknown | N/A
3.8.2 | Have you mapped priority strategies for this Element across a timetable for implementation? Refer to the Getting Started section of the Climate Resilience Tooklit toolkit.climate.gov. |  | Yes | Somewhat | No | Unknown | N/A
This checklist is one component of a five element framework and toolkit for improving healthcare facility climate resilience.
The full set of checklists, companion resources and case studies are available at toolkit.climate.gov.
This document is provided to the public for informational purposes and voluntary use. It does not represent official HHS policy.

## Element 4
HHS Sustainable and Climate Resilient Health Care Facility Initiative
ELEMENT 4 CHECKLIST
ESSENTIAL CLINICAL CARE SERVICE DELIVERY PLANNING
Yes = Action completed Somewhat = Action in progress or incomplete No = No action planned or taken Unknown = Status or action unknown N/A = Does not apply
STEP 1: Determine Clinical Care Needs |  | Value | Rank
4.1.1 | Have you developed planning metrics for extreme weather related events? |  | Yes | Somewhat | No | Unknown | N/A
4.1.2 | Determine the appropriate length of time for self-sustaining care within the facility without re-supply of equipment, supplies and staff (96 hours is a common default) |  |  |  | Unknown
4.1.3 | Determine the appropriate length of time with no mutual aid from the local community that will be used for planning purposes (96 hours is a common default) |  |  |  | Unknown
4.1.4 | Determine Average Daily Occupancy (census) (the average daily number of occupied beds over the preceding year) |  |  |  | Unknown
4.1.5 | Determine average number of patients that qualify for early discharge; check number periodically |  |  |  | Unknown
4.1.6 | Determine factors for community surge
| • Is this facility the place of refuge for community long term care, assisted living, or other medical residential care uses? |  | Yes | Somewhat | No | Unknown | N/A
| • Are there particular health vulnerabilities in the community that will likely increase admissions during an extreme event? |  | Yes | Somewhat | No | Unknown | N/A
4.1.7 | Set target for surge capacity (for example: 5%, 10%, 20% of bed totals) |  |  |  | Unknown
4.1.8 | Do you have a plan for Mass Fatality management and accommodation associated with extreme weather events?
| • Morgue Capacity |  | Yes | Somewhat | No | Unknown | N/A
| • Portable Refrigerated Trailers |  | Yes | Somewhat | No | Unknown | N/A
| • Spaces capable of additional cooling |  | Yes | Somewhat | No | Unknown | N/A
4.1.9 | Assess your overall understanding of clinical care needs and patient surge in an extreme weather event. |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
STEP 2: Determine Personnel Availability |  | Value | Rank
4.2.1 | Have you calculated the number of personnel that will not likely report to work due to inability to travel, illness or safety concerns (e.g., 40% or 200 out of 500)? |  | Yes | Somewhat | No | Unknown | N/A
4.2.2 | Have you prepared a Staffing Strategy during surge? (who can work from home, who can work from an alternate location; who is necessary at the hospital?) |  | Yes | Somewhat | No | Unknown | N/A
4.2.3 | Does your health care facility disaster plan include a protocol to receive external assistance from outside partners (e.g. other health care facilities, community, provincial agency, federal agency) in the event of climate-related emergency? |  | Yes | Somewhat | No | Unknown | N/A
4.2.4 | Assess your overall understanding of personnel availability in an extreme weather event based on your answers to the questions above. |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
STEP 3: Identify Clinical Care and Support Space Vulnerabilities |  | Value | Rank
4.3.1 | Inventory the locations of critical medical care departments, support services and diagnostic equipment listed below. Are these departments or services accessible and out of harm’s way in an extreme weather event?
| • Urgent Care |  | Yes | Somewhat | No | Unknown | N/A
| • Emergency Services |  | Yes | Somewhat | No | Unknown | N/A
| • Main Lobby/ Building Entrances |  | Yes | Somewhat | No | Unknown | N/A
| • Helipad |  | Yes | Somewhat | No | Unknown | N/A
| • Imaging |  | Yes | Somewhat | No | Unknown | N/A
| • Critical Care and/or Bed Units |  | Yes | Somewhat | No | Unknown | N/A
| • Pharmacy |  | Yes | Somewhat | No | Unknown | N/A
| • Medical Records/ IT |  | Yes | Somewhat | No | Unknown | N/A
| • Emergency Command Center |  | Yes | Somewhat | No | Unknown | N/A
| • Kitchen/ Food and Potable Water Storage |  | Yes | Somewhat | No | Unknown | N/A
| • Clinical Supplies accessible |  | Yes | Somewhat | No | Unknown | N/A
| • Clinical Laboratories |  | Yes | Somewhat | No | Unknown | N/A
| • Hazardous Waste Storage |  | Yes | Somewhat | No | Unknown | N/A
| • Morgue |  | Yes | Somewhat | No | Unknown | N/A
| • Ambulance Fleet Refueling/ Garage |  | Yes | Somewhat | No | Unknown | N/A
| • Internal building connecting corridors/links |  | Yes | Somewhat | No | Unknown | N/A
| Assess your vulnerability to extreme events based on your responses above. |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
4.3.2 | Based on your inventory above, do you have workaround and/or contingency plans for possible disruption of vulnerable services and functions related to an extreme weather related event?
| • Urgent Care |  | Yes | Somewhat | No | Unknown | N/A
| • Emergency Services |  | Yes | Somewhat | No | Unknown | N/A
| • Main Lobby/ Building Entrances |  | Yes | Somewhat | No | Unknown | N/A
| • Helipad |  | Yes | Somewhat | No | Unknown | N/A
| • Imaging |  | Yes | Somewhat | No | Unknown | N/A
| • Critical Care and/or Bed Units |  | Yes | Somewhat | No | Unknown | N/A
| • Pharmacy |  | Yes | Somewhat | No | Unknown | N/A
| • Medical Records/ IT |  | Yes | Somewhat | No | Unknown | N/A
| • Emergency Command Center |  | Yes | Somewhat | No | Unknown | N/A
| • Kitchen/ Food and Potable Water Storage |  | Yes | Somewhat | No | Unknown | N/A
| • Clinical Supplies accessible |  | Yes | Somewhat | No | Unknown | N/A
| • Clinical Laboratories |  | Yes | Somewhat | No | Unknown | N/A
| • Hazardous Waste Storage |  | Yes | Somewhat | No | Unknown | N/A
| • Morgue |  | Yes | Somewhat | No | Unknown | N/A
| • Ambulance Fleet Refueling/ Garage |  | Yes | Somewhat | No | Unknown | N/A
| • Internal building connecting corridors/links |  | Yes | Somewhat | No | Unknown | N/A
| Assess your contingency plans for vulnerable locations based on your responses above |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
4.3.3 | A climate-related emergency may affect waste management practices at your health care facility. Does your health care facility have a contingency waste management plan if primary waste management processes are limited or unavailable in an climate-related emergency scenario? |  | Yes | Somewhat | No | Unknown | N/A
4.3.4 | Assess your overall clinical care and support vulnerabilities in an extreme weather event based on your answers to the questions above. |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
STEP 4: Identify Locations for Anticipated Patient Surge |  | Value | Rank
4.4.1 | Identify the number of unoccupied beds (total capacity - average census) |  |  |  | Unknown
4.4.2 | Identify number of early discharge recoverable beds (see 4.1.4) |  |  |  | Unknown
4.4.3 | Have you inventoried and assessed Expanded Treatment Areas (ETA) (additional areas on campus or off-campus at locations owned or operated by the hospital) for treating lower acuity patients, either admits or transfers from the hospital? See Element 4 Resources for an APC Checklist for Expanded Treatment Areas. |  | Yes | Somewhat | No | Unknown | N/A
4.4.4 | Have you inventoried and ranked Alternate Care Sites (off-campus locations owned or operated by businesses other than the hospital) to which lower acuity hospital patients may be transferred for treatment by attending hospital staff? (These may be churches, schools, hotels/motels, etc., not large regional community-wide alternate care sites established by the community.) See Element 4 Resources for an APC Checklist for Alternate Care Sites. |  | Yes | Somewhat | No | Unknown | N/A
4.4.5 | Assess overall provisions for anticipated patient surge during and following extreme weather events based on your responses to the questions above. |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
STEP 5: Personnel and Accomodation |  | Value | Rank
4.5.1 | Have you identified Temporary Staffing Sources - i.e., Red Cross, Emergency Response Teams, etc.? |  | Yes | Somewhat | No | Unknown | N/A
4.5.2 | Have you identified and equipped Essential Staff Sleeping Area(s)? |  | Yes | Somewhat | No | Unknown | N/A
4.5.3 | Do you have a Dependent Care Plan that Identifies essential staff dependent care options, both on and off-site? See Element 4 Resources for APC model plan. |  | Yes | Somewhat | No | Unknown | N/A
4.5.4 | Do you have a Pet Care Plan that in part encourages employees to anticipate and proactively find accommodations for pets before the emergency? See Element 4 Resources for APC model plan. |  | Yes | Somewhat | No | Unknown | N/A
4.5.5 | Do your response and recovery plans for climate-related emergencies or disasters include the provision of psychological support to address mental health impacts of health care facility staff in the short term and long-term? |  | Yes | Somewhat | No | Unknown | N/A
4.5.6 | Do you have a system to manage professional and allied healthcare and non-healthcare volunteer personnel? |  | Yes | Somewhat | No | Unknown | N/A
4.5.7 | Rank overall provisions for personnel and their accommodation during and following extreme weather events based on your responses to the questions above |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
STEP 6: Health Care Resources and Supplies |  | Value | Rank
Procurement of health care resources and supplies is critical for any health care facility to provide care. Climate variability and extreme weather events may affect access to these resources. This includes “just in time delivery” of supplies in emergency situations. Consider the questions below and assess your supply chain resilience.
4.6.1 | At planning venues with community partners, do you discuss how institutional changes in combination with climate variability might affect delivery and/or access to health care resources or supplies? |  | Yes | Somewhat | No | Unknown | N/A
4.6.2 | Do you have a plan to accommodate increased supply storage for the extended period of time that the facility will be self-sufficient? |  | Yes | Somewhat | No | Unknown | N/A
4.6.3 | Do you currently have access to sufficient inventories of essential supplies and resources to continue to provide care during one or more climate-related emergencies? Please respond according to essential back-up supplies listed below.
| • Medications, treatments, drugs, pharmaceuticals, vaccines |  | Yes | Somewhat | No | Unknown | N/A
| • Medical equipment: dialysers, etc. |  | Yes | Somewhat | No | Unknown | N/A
| • Food |  | Yes | Somewhat | No | Unknown | N/A
| • Water |  | Yes | Somewhat | No | Unknown | N/A
| • Non-medical materials, such as bed linens, cleaning supplies |  | Yes | Somewhat | No | Unknown | N/A
4.6.4 | Rank your overall supply chain preparedness, based on your answers to the questions above |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
SUMMARY |  | Value | Rank
Based on your responses above, develop a list of action items to address Clinical Care Service Delivery issues identified.
4.7.1 | Have you determined key clinical care improvement strategies for each building and campus from this checklist? |  | Yes | Somewhat | No | Unknown | N/A
4.7.2 | Have you mapped priority strategies for this Element across a timetable for implementation? Refer to the Getting Started section of the Climate Resilience Toolkit toolkit.climate.gov. |  | Yes | Somewhat | No | Unknown | N/A
This checklist is one component of a five element framework and toolkit for improving healthcare facility climate resilience.
The full set of checklists, companion resources and case studies are available at toolkit.climate.gov.
This document is provided to the public for informational purposes and voluntary use. It does not represent official HHS policy.

## Element 5
HHS Sustainable and Climate Resilient Health Care Facility Initiative
Element 5 Checklist
Environmental Protection and Ecosystem Adaptations
Yes = Action completed Somewhat = Action in progress or incomplete No = No action planned or taken Unknown = Status or action unknown N/A = Does not apply
GENERAL |  | Value Rank | Rank
5.0.1 | A climate resilient health care facility recognizes and commits to sustainable practices that benefit the hospital and broader community. Does your health care facility undertake any of the following measures to be more sustainable?
| • Develop sustainability goals and action plans |  | Yes | Somewhat | No | Unknown | N/A
| • Track sustainability performance (setting targets, identifying indicators) |  | Yes | Somewhat | No | Unknown | N/A
| • Implement strategies and activities to continuously improve sustainable management |  | Yes | Somewhat | No | Unknown | N/A
| • Build community partnerships with organizations or agencies to contribute to a resilient community |  | Yes | Somewhat | No | Unknown | N/A
| • Learn about new and emergent programs and technologies to be more sustainable (assessing sustainable practices of suppliers, for example) |  | Yes | Somewhat | No | Unknown | N/A
5.0.2 | Many states and municipalities have begun to address climate change by developing climate action plans, undertaking vulnerability assessments, and restoring or adapting ecosystems for improved resilience. Is your health care facility aware of or participating in ecosystem based climate change adaptation or mitigation initiatives in your area? |  | Yes | Somewhat | No | Unknown | N/A
5.0.3 | Do you design and construct buildings using green design best practices, standards or guiding principles (e.g. Leadership in Energy and Environmental Design (LEED), Living Building Challenge, or equivalent)? |  | Yes | Somewhat | No | Unknown | N/A
5.0.4 | Does your health care facility take any of the following measures to contribute to improving air quality in your community?
| • Engage in air quality initiatives in the community |  | Yes | Somewhat | No | Unknown | N/A
| • Avoid the use of toxic chemicals wherever possible indoors |  | Yes | Somewhat | No | Unknown | N/A
| • Avoid the use of toxic chemicals wherever possible in landscape management |  | Yes | Somewhat | No | Unknown | N/A
| • Support local suppliers to reduce transportation miles for supplies |  | Yes | Somewhat | No | Unknown | N/A
| • Support mass transit, carpooling or ride sharing |  | Yes | Somewhat | No | Unknown | N/A
| • Support active transportation (walking or biking) |  | Yes | Somewhat | No | Unknown | N/A
| • Minimizes transport related emissions by understanding how facility location/design impacts transportation uses |  | Yes | Somewhat | No | Unknown | N/A
| • Other (specify): |  | Yes | Somewhat | No | Unknown | N/A
Step 1: Treat Water as a Resource |  | Value Rank | Rank
Review the site or campus storm water management system against future climate predictions for capacity and opportunities.
5.1.1 | Does your facility practice any of the following sustainable storm water management practices to reduce local flooding in extreme rain events?
| • Permeable paving |  | Yes | Somewhat | No | Unknown | N/A
| • Green roofs |  | Yes | Somewhat | No | Unknown | N/A
| • Bioswales |  | Yes | Somewhat | No | Unknown | N/A
| • Open space for groundwater recharge |  | Yes | Somewhat | No | Unknown | N/A
5.1.2 | Does your facility practice any of the following sustainable storm water management practices to reduce reliance on water supplies for landscape irrigation in droughts?
| • Native and drought tolerant species |  | Yes | Somewhat | No | Unknown | N/A
| • Rainwater harvesting |  | Yes | Somewhat | No | Unknown | N/A
5.1.3 | Rank overall storm water management system with regard to capacity to recharge groundwater and manage extreme precipitation (rainfall or snowfall) events. |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
Step 2: Value Soils |  | Value Rank | Rank
5.2.1 | Sustainable food programs can include a variety of elements that enhance resilience. Does your health facility undertake any of the following sustainable food activities?
| • Diversify suppliers to include local food |  | Yes | Somewhat | No | Unknown | N/A
| • On-site food production (greenhouse, roof gardens) |  | Yes | Somewhat | No | Unknown | N/A
| • Support or host community farmers markets |  | Yes | Somewhat | No | Unknown | N/A
| • Organic food procurement |  | Yes | Somewhat | No | Unknown | N/A
| • Antibiotic-free meat and dairy |  | Yes | Somewhat | No | Unknown | N/A
| • Reduce or eliminate sugar-sweetened beverages |  | Yes | Somewhat | No | Unknown | N/A
5.2.2 Does your facility or system compost food waste? |  |  | Yes | Somewhat | No | Unknown | N/A
5.2.3 Does your healthcare facility practice Integrated Pest Management or other sustainable | Does your healthcare facility practice Integrated Pest Management or other sustainable landscaping and grounds keeping practices related to the following strategies?
| • Control invasive species |  | Yes | Somewhat | No | Unknown | N/A
| • Reduce pesticide use |  | Yes | Somewhat | No | Unknown | N/A
| • Reduce fertilizer impacts |  | Yes | Somewhat | No | Unknown | N/A
| • Restore disturbed soils |  | Yes | Somewhat | No | Unknown | N/A
5.2.4 | Does your facility practice any of the following sustainable landscaping protocols that enhance ecosystem services?
| • Habitat for endangered species |  | Yes | Somewhat | No | Unknown | N/A
| • Bird-friendly provisioning; nesting, food plants, water |  | Yes | Somewhat | No | Unknown | N/A
| • Native landscape, wetlands or forest restoration programs |  | Yes | Somewhat | No | Unknown | N/A
5.2.5 | Based on the number of “yes” responses to the question above, rank your progress on valuing soils. |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
Step 3: Preserve Vegetative Cover and Open Space |  | Value Rank | Rank
5.3.1 | Is your facility or campus inside the limits of any of the following sensitive sites:
| • Endangered species habitat |  | Yes | Somewhat | No | Unknown | N/A
| • Wetlands |  | Yes | Somewhat | No | Unknown | N/A
| • Prime agricultural land |  | Yes | Somewhat | No | Unknown | N/A
| • Prime forest |  | Yes | Somewhat | No | Unknown | N/A
• If yes, have you have implemented measures to mitigate negative impacts from your site development in partnership with community? If so, include these measures as part of your resilience strategies. Measures may include applying setbacks, land covenant protections, etc.
5.3.2 | Does your campus or facility actively seek opportunities to preserve vegetative cover, preserve open space, or create habitat through any of the following measures?
| • Structured parking lots in lieu of surface parking |  | Yes | Somewhat | No | Unknown | N/A
| • Dedicated open space |  | Yes | Somewhat | No | Unknown | N/A
| • Green roofs |  | Yes | Somewhat | No | Unknown | N/A
| • Shaded roadways |  | Yes | Somewhat | No | Unknown | N/A
| • Bioswales |  | Yes | Somewhat | No | Unknown | N/A
| • On site food production |  | Yes | Somewhat | No | Unknown | N/A
| • Landscaping with native and adapted plant species |  | Yes | Somewhat | No | Unknown | N/A
5.3.3 | Many municipalities are enacting policies to preserve wildlife corridors, reopen covered to future extreme weather events. Does your hospital or health system participate in and/ or support your local programs? |  | Yes | Somewhat | No | Unknown | N/A
5.3.4 | Rank your progress on preserving vegetative cover and open space based on answers to the questions above |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
Step 4: Reduce Waste |  | Value Rank | Rank
5.4.1 | Sustainable waste-management programs could include a variety of initiatives. Minimizing waste production can have co-benefits (cost-savings, environmental benefits, health benefits) and contributes to a climate resilient health care facility. Has your health care facility adopted any of the following sustainable waste management strategies?
| • Audit all waste streams |  | Yes | Somewhat | No | Unknown | N/A
| • Conserve and reduce all waste streams, measure and report progress |  | Yes | Somewhat | No | Unknown | N/A
| • Segregate waste to minimize regulated medical waste (RMW) |  | Yes | Somewhat | No | Unknown | N/A
| • Purchase reusable products and products that minimize packaging and waste |  | Yes | Somewhat | No | Unknown | N/A
| • Alternative disposal and treatment technologies (e.g., anaerobic digestion of organic waste, autoclave landfill) |  | Yes | Somewhat | No | Unknown | N/A
| • Recycling programs |  | Yes | Somewhat | No | Unknown | N/A
5.4.2 | Rank the overall performance of your waste management programs, based on answers to the questions above. |  | 3 Exemplary | 2 Functional | 1 Marginal | 0 None | N/A
Summary |  | Value Rank | Rank
Based on your responses above, develop a list of action items to address Environmental Protection and Ecosystem Adaptation issues identified.
5.5.1 | Have you determined key sustainability and ecosystem adaptation strategies for each building and campus from this checklist? |  | Yes | Somewhat | No | Unknown | N/A
5.5.2 | Have you mapped priority strategies for this Element across a timetable for implementation? Refer to the Getting Started section of the Climate Resilience Toolkit toolkit.climate.gov. |  | Yes | Somewhat | No | Unknown | N/A
This checklist is one component of a five element framework and toolkit for improving healthcare facility climate resilience.
The full set of checklists, companion resources and case studies are available at toolkit.climate.gov.
This document is provided to the public for informational purposes and voluntary use. It does not represent official HHS policy.